{"text_format":"3","workbook":"xls","n_sheets":5,"sheets":["3.1 E.1 分部分项工程量清单计价表(所有标题)","3.2 附录F 措施项目清单计价表","3.3 附录G 不可竞争项目清单与计价表","3.4 H.1 其他项目清单与计价汇总表","3.5 附录I 税金计价表"],"not_rendered":{"external_links":1,"defined_names":5},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"3.1 E.1 分部分项工程量清单计价表(所有标题)","index":0,"n_rows":77,"n_cols":14,"rows_kept":77,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,0,7,0],[5,1,7,1],[5,2,7,3],[5,4,7,4],[5,5,7,6],[5,7,7,7],[5,8,7,8],[5,9,7,9],[5,10,7,11],[5,12,7,12],[5,13,7,13],[8,0,9,0],[8,1,9,1],[8,2,9,3],[8,4,9,4],[8,5,9,6],[8,7,9,7],[8,8,9,8],[8,9,9,9],[8,10,9,11],[8,12,9,12],[8,13,9,13],[10,0,11,0],[10,1,11,1],[10,2,11,3],[10,4,11,4],[10,5,11,6],[10,7,11,7],[10,8,11,8],[10,9,11,9],[10,10,11,11],[10,12,11,12],[10,13,11,13],[12,0,13,0],[12,1,13,1],[12,2,13,3],[12,4,13,4],[12,5,13,6],[12,7,13,7],[12,8,13,8],[12,9,13,9],[12,10,13,11],[12,12,13,12],[12,13,13,13],[14,0,15,0],[14,1,15,1],[14,2,15,3],[14,4,15,4],[14,5,15,6],[14,7,15,7],[14,8,15,8],[14,9,15,9],[14,10,15,11],[14,12,15,12],[14,13,15,13],[16,0,16,13],[18,3,18,13],[19,0,19,13],[20,0,20,5],[20,6,20,10],[20,11,20,13],[21,0,23,0],[21,1,23,1],[21,2,23,3],[21,4,23,4],[21,5,23,6],[21,7,23,7],[21,8,21,13],[22,8,23,8],[22,9,23,9],[22,10,22,13],[23,10,23,11],[24,0,25,0],[24,1,25,1],[24,2,25,3],[24,4,25,4],[24,5,25,6],[24,7,25,7],[24,8,25,8],[24,9,25,9],[24,10,25,11],[24,12,25,12],[24,13,25,13],[26,0,27,0],[26,1,27,1],[26,2,27,3],[26,4,27,4],[26,5,27,6],[26,7,27,7],[26,8,27,8],[26,9,27,9],[26,10,27,11],[26,12,27,12],[26,13,27,13],[28,0,29,0],[28,1,29,1],[28,2,29,3],[28,4,29,4],[28,5,29,6],[28,7,29,7],[28,8,29,8],[28,9,29,9],[28,10,29,11],[28,12,29,12],[28,13,29,13],[30,0,31,0],[30,1,31,1],[30,2,31,3],[30,4,31,4],[30,5,31,6],[30,7,31,7],[30,8,31,8],[30,9,31,9],[30,10,31,11],[30,12,31,12],[30,13,31,13],[32,0,33,0],[32,1,33,1],[32,2,33,3],[32,4,33,4],[32,5,33,6],[32,7,33,7],[32,8,33,8],[32,9,33,9],[32,10,33,11],[32,12,33,12],[32,13,33,13],[34,0,34,13],[37,3,37,13],[38,0,38,13],[39,0,39,5],[39,6,39,10],[39,11,39,13],[40,0,42,0],[40,1,42,1],[40,2,42,3],[40,4,42,4],[40,5,42,6],[40,7,42,7],[40,8,40,13],[41,8,42,8],[41,9,42,9],[41,10,41,13],[42,10,42,11],[43,0,44,0],[43,1,44,1],[43,2,44,3],[43,4,44,4],[43,5,44,6],[43,7,44,7],[43,8,44,8],[43,9,44,9],[43,10,44,11],[43,12,44,12],[43,13,44,13],[45,0,46,0],[45,1,46,1],[45,2,46,3],[45,4,46,4],[45,5,46,6],[45,7,46,7],[45,8,46,8],[45,9,46,9],[45,10,46,11],[45,12,46,12],[45,13,46,13],[47,0,48,0],[47,1,48,1],[47,2,48,3],[47,4,48,4],[47,5,48,6],[47,7,48,7],[47,8,48,8],[47,9,48,9],[47,10,48,11],[47,12,48,12],[47,13,48,13],[49,0,50,0],[49,1,50,1],[49,2,50,3],[49,4,50,4],[49,5,50,6],[49,7,50,7],[49,8,50,8],[49,9,50,9],[49,10,50,11],[49,12,50,12],[49,13,50,13],[51,0,52,0],[51,1,52,1],[51,2,52,3],[51,4,52,4],[51,5,52,6],[51,7,52,7],[51,8,52,8],[51,9,52,9],[51,10,52,11],[51,12,52,12],[51,13,52,13],[53,0,53,13],[54,3,54,13],[55,0,55,13],[56,0,56,5],[56,6,56,10],[56,11,56,13],[57,0,59,0],[57,1,59,1],[57,2,59,3],[57,4,59,4],[57,5,59,6],[57,7,59,7],[57,8,57,13],[58,8,59,8],[58,9,59,9],[58,10,58,13],[59,10,59,11],[60,0,61,0],[60,1,61,1],[60,2,61,3],[60,4,61,4],[60,5,61,6],[60,7,61,7],[60,8,61,8],[60,9,61,9],[60,10,61,11],[60,12,61,12],[60,13,61,13],[62,0,63,0],[62,1,63,1],[62,2,63,3],[62,4,63,4],[62,5,63,6],[62,7,63,7],[62,8,63,8],[62,9,63,9],[62,10,63,11],[62,12,63,12],[62,13,63,13],[64,0,65,0],[64,1,65,1],[64,2,65,3],[64,4,65,4],[64,5,65,6],[64,7,65,7],[64,8,65,8],[64,9,65,9],[64,10,65,11],[64,12,65,12],[64,13,65,13],[66,0,67,0],[66,1,67,1],[66,2,67,3],[66,4,67,4],[66,5,67,6],[66,7,67,7],[66,8,67,8],[66,9,67,9],[66,10,67,11],[66,12,67,12],[66,13,67,13],[68,2,68,3],[68,5,68,6],[68,10,68,11],[69,2,69,3],[69,5,69,6],[69,10,69,11],[70,2,70,3],[70,5,70,6],[70,10,70,11],[71,2,71,3],[71,5,71,6],[71,10,71,11],[72,2,72,3],[72,5,72,6],[72,10,72,11],[73,0,73,13],[76,3,76,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：安徽省安车交通运输集团有限公司-南湖南侧公共停场配电工程",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共4页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["1","030410004001","杆上设备",null,"1、名称：智能FTU户外高压真空断路\n2、规格：ZW32-12\n3、电压等级（kV)：10KV\n4、带支架\n5、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","台",null,"1.000"]
[]
[]
["2","030410004002","杆上设备",null,"1、名称：避雷器\n2、规格：HY5WS-17/50\n3、电压等级（kV)：10KV\n4、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","组",null,"2.000"]
[]
["3","030410004003","杆上设备",null,"1、名称：线路故障指示仪 \n2、型号：SF1-3A\n3、电压等级（kV)：10KV\n4、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","只",null,"1.000"]
[]
["4","030409003001","避雷引下线",null,"1、名称：接地引下线\n2、规格：-40X4\n3、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","m",null,"15.590"]
[]
["5","030409001001","接地极",null,"1、名称：接地极\n2、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","根",null,"1.000"]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：安徽省安车交通运输集团有限公司-南湖南侧公共停场配电工程",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共4页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["6","030408003001","电缆保护管",null,"1、名称：镀锌钢管\n2、规格：Φ100\n3、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","根",null,"1.000"]
[]
["7","040501008001","拉管",null,"1、名称：拉管\n2、材质及规格：MPP  φ110\n3、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","m",null,"170.000"]
[]
["8","030408001001","电力电缆",null,"1、名称：电力电缆\n2、规格：ZR-YJV22-8.7/15-3*70\n3、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","m",null,"190.000"]
[]
["9","030402018001","组合式成套箱式变电站",null,"1、名称：箱式变压器\n2、容量（KV·A)：S11-M-1000kVA\n3、含高压计量装置\n4、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","台",null,"1.000"]
[]
["10","010501006001","设备基础",null,"1、部位：箱变基础\n2、混凝土种类：垫层\n3、混凝土强度等级：C15\n4、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","m3",null,"22.100"]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：安徽省安车交通运输集团有限公司-南湖南侧公共停场配电工程",{"$nulls":5},"标段：",{"$nulls":4},"第3页 共4页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["11","010501006002","设备基础",null,"1、部位：箱变基础\n2、混凝土种类：垫层\n3、混凝土强度等级：C20\n4、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","m3",null,"1.820"]
[]
["12","010515001001","现浇构件钢筋",null,"1、部位：箱变基础\n2、钢筋种类、规格：HRB400  Ø12\n3、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","t",null,"0.138"]
[]
["13","010401003001","实心砖墙",null,"1、部位：箱变基础\n2、墙体类型：实心砖墙\n3、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","m3",null,"28.050"]
[]
["14","WB040504019001","非定型井钢筋混凝土井盖、井圈制作",null,"1、名称：阴井盖板\n2、混凝土强度等级：C30\n3、钢筋规格：HRB400\n4、他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","m3",null,"0.110"]
[]
["15","010501006003","设备基础",null,"1、部位：围栏立柱基础\n2、混凝土强度等级：C20\n3、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","m3",null,"3.200"]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：安徽省安车交通运输集团有限公司-南湖南侧公共停场配电工程",{"$nulls":5},"标段：",{"$nulls":4},"第4页 共4页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["16","030409002001","接地母线",null,"1、名称：接地网\n2、材质：镀锌扁钢\n3、规格：-40*4\n4、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","项",null,"1.000"]
[]
["17","030409004001","均压环",null,"1、名称：均压环\n2、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","项",null,"1.000"]
[]
["18","040203007001","水泥混凝土",null,"1、水泥路面\n2、混凝土强度等级：C15\n3、厚度：100mm\n4、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","m2",null,"80.000"]
[]
["19","011503001001","金属扶手、栏杆、栏板",null,"1、栏杆材料种类、规格、品牌：箱变不锈钢围栏\n2、其他：未尽事宜详见设计图纸、招标文件、答疑及有关补充文件","m2",null,"64.800"]
[]
["20","WB030414022001","计量二次回路阻抗测试",null,"1、名称：计量二次回路阻抗测试","组",null,"1.000"]
["21","030414011001","接地装置",null,"1、名称：接地系统测试","系统/组",null,"1.000"]
["22","030414015001","电缆试验",null,"1、名称：电缆试验\n2、电压等级（kV）：10KV","次（根、点）",null,"1.000"]
["23","WB030414026001","避雷器调试",null,"1、名称：避雷器调试","组",null,"2.000"]
["24","030414001001","电力变压器系统",null,"1、名称：电力变压器系统调试\n2、容量（kV·A）：1000KVA","系统",null,"1.000"]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.2 附录F 措施项目清单计价表","index":1,"n_rows":21,"n_cols":9,"rows_kept":21,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,0,11,7],[20,2,20,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：安徽省安车交通运输集团有限公司-南湖南侧公共停场配电工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","AC-01",null,"夜间施工增加费",null,null,"0.500"]
["2","AC-02",null,"二次搬运费",null,null,"1.000"]
["3","AC-03",null,"冬雨季施工增加费",null,null,"0.700"]
["4","AC-04",null,"已完工程及设备保护费",null,null,"0.300"]
["5","AC-05",null,"工程定位复测费",null,null,"0.600"]
["6","AC-06",null,"非夜间施工照明费",null,null,"0.600"]
["7","AC-07",null,"临时保护设施费",null,null,"0.100"]
["8","AC-08",null,"赶工措施费",null,null,"2.500"]
["合   计",{"$nulls":7},""]
{"$rows_empty":8}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.3 附录G 不可竞争项目清单与计价表","index":2,"n_rows":18,"n_cols":9,"rows_kept":18,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,0,8,7],[17,2,17,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：安徽省安车交通运输集团有限公司-南湖南侧公共停场配电工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","AF-01",null,"环境保护费",null,null,"1.780"]
["2","AF-02",null,"文明施工费",null,null,"6.100"]
["3","AF-03",null,"安全施工费",null,null,"4.220"]
["4","AF-04",null,"临时设施费",null,null,"4.600"]
["5","AF-05",null,"环境保护税",null,null,""]
["合   计",{"$nulls":7},""]
{"$rows_empty":8}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.4 H.1 其他项目清单与计价汇总表","index":3,"n_rows":18,"n_cols":6,"rows_kept":18,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[8,0,8,3],[8,4,8,5],[17,2,17,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：安徽省安车交通运输集团有限公司-南湖南侧公共停场配电工程",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
[]
["合  计",{"$nulls":3},""]
{"$rows_empty":8}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.5 附录I 税金计价表","index":4,"n_rows":15,"n_cols":9,"rows_kept":15,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,0,4,7],[14,2,14,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：安徽省安车交通运输集团有限公司-南湖南侧公共停场配电工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费",{"$nulls":3},"9.000"]
["合  计",{"$nulls":7},""]
{"$rows_empty":9}
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]