{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1","index":0,"n_rows":14,"n_cols":8,"rows_kept":14,"merged":[[0,0,0,7],[13,0,13,5]],"flags":["formulas_cached_only"]}
["气体灭火装置项目控制价清单"]
["序号","名称","规格型号/要求","单位","数量","单价（元）","总价（元）","备注"]
[1,"七氟丙烷药剂","国产","L",2871]
[2,"人工拆装费","/","次",2,null,null,"所产生的全部费用"]
[3,"危化品车辆运输费","/","次",2,null,null,"所产生的全部费用"]
[4,"气体喷放及报警调试","/","项",1,null,null,"所产生的全部费用"]
[5,"高压软管检测","/","项",1]
[6,"电磁阀检测","/","项",1]
[7,"阀门易损件和膜片更换","/","项",1]
[8,"表面防腐处理","/","项",1]
[9,"钢瓶检测","/","项",1,null,null,"检测并且加盖检测钢印"]
[10,"备用钢瓶租赁","/","项",1,null,null,"备用钢瓶需在检测期内并且加盖检测钢印"]
[11,"安装调试及辅材费","/","项",1]
["合计（含税6%增值税专用发票）"]