{"text_format":"3","workbook":"xls","n_sheets":15,"sheets":["2.1 D.2 单项工程最高投标限价汇总表","3.1 D.3 单位工程最高投标限价汇总表","3.2 E.1 分部分项工程量清单计价表(所有标题)","3.3 附录F 措施项目清单计价表","3.4 附录G 不可竞争项目清单与计价表","3.5 H.1 其他项目清单与计价汇总表","3.6 附录I 税金计价表","3.7 材料汇总表","4.1 D.3 单位工程最高投标限价汇总表","4.2 E.1 分部分项工程量清单计价表(所有标题)","4.3 附录F 措施项目清单计价表","4.4 附录G 不可竞争项目清单与计价表","4.5 H.1 其他项目清单与计价汇总表","4.6 附录I 税金计价表","4.7 材料汇总表"],"not_rendered":{"external_links":1,"defined_names":15},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"2.1 D.2 单项工程最高投标限价汇总表","index":0,"n_rows":18,"n_cols":8,"rows_kept":18,"merged":[[0,0,0,7],[1,0,1,2],[1,6,1,7],[2,0,3,0],[2,1,3,3],[2,4,3,4],[2,5,2,7],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[7,0,7,3],[7,5,7,6],[16,2,16,7],[17,0,17,7]],"flags":["formulas_cached_only"]}
["D.2 单项工程最高投标限价汇总表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目",{"$nulls":5},"第1页 共1页"]
["序号","单位工程名称",null,null,"金额(元)","其中：（元）"]
[{"$nulls":5},"暂估价",null,"不可竞争费"]
["1","亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",null,null,"291314.48","",null,"7537.99"]
["2","亳州千香城市配送服务中心项目二层室内装饰项目（安装）",null,null,"34673.85","",null,"1483.92"]
[]
["合计",{"$nulls":3},"325988.33","",null,"9021.91"]
{"$rows_empty":8}
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["说明：本表适用于单项工程最高投标限价或投标报价的汇总。暂估价包括分部分项工程中的材料、设备暂估价和专业工程暂估价。"]

{"sheet":"3.1 D.3 单位工程最高投标限价汇总表","index":1,"n_rows":32,"n_cols":7,"rows_kept":32,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,5],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,0,26,3],[26,5,26,6],[31,2,31,6]],"flags":["formulas_cached_only"]}
["D.3 单位工程最高投标限价汇总表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",null,null,"标段：",null,null,"第1页 共1页"]
["序号","汇总内容",null,null,"金额(元)","其中：材料、设备暂估价（元）"]
["1","分部分项工程费",null,null,"257457.58",""]
["1.1","楼地面装饰工程",null,null,"50105.85",""]
["1.2","墙、柱面装饰与隔断、幕墙工程",null,null,"151867.99",""]
["1.3","天棚工程",null,null,"53473.63",""]
["1.4","措施项目",null,null,"2010.11",""]
["2","措施项目费",null,null,"2265.42",""]
["2.1","  夜间施工增加费",null,null,"182.69",""]
["2.2","  二次搬运费",null,null,"365.39",""]
["2.3","  冬雨季施工增加费",null,null,"292.31",""]
["2.4","  已完工程及设备保护费",null,null,"36.54",""]
["2.5","  工程定位复测费",null,null,"365.39",""]
["2.6","  非夜间施工照明费",null,null,"146.16",""]
["2.7","  临时保护设施费",null,null,"73.08",""]
["2.8","  赶工措施费",null,null,"803.86",""]
["3","不可竞争费",null,null,"7537.99",""]
["3.1","  安全文明施工费",null,null,"7537.99",""]
["3.2","  环境保护税",null,null,"",""]
["4","其他项目",null,null,"",""]
["4.1","  暂列金额",null,null,"",""]
["4.2","  专业工程暂估价",null,null,"",""]
["4.3","  计日工",null,null,"",""]
["4.4","  总承包服务费",null,null,"",""]
["5","税金",null,null,"24053.49",""]
["工程造价=1+2+3+4+5",{"$nulls":3},"291314.48",""]
[]
[]
[]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.2 E.1 分部分项工程量清单计价表(所有标题)","index":2,"n_rows":162,"n_cols":14,"rows_kept":162,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,2,5,4],[5,5,5,6],[5,10,5,11],[6,0,7,0],[6,1,7,1],[6,2,7,3],[6,4,7,4],[6,5,7,6],[6,7,7,7],[6,8,7,8],[6,9,7,9],[6,10,7,11],[6,12,7,12],[6,13,7,13],[8,0,10,0],[8,1,10,1],[8,2,10,3],[8,4,10,4],[8,5,10,6],[8,7,10,7],[8,8,10,8],[8,9,10,9],[8,10,10,11],[8,12,10,12],[8,13,10,13],[11,0,13,0],[11,1,13,1],[11,2,13,3],[11,4,13,4],[11,5,13,6],[11,7,13,7],[11,8,13,8],[11,9,13,9],[11,10,13,11],[11,12,13,12],[11,13,13,13],[14,2,14,4],[14,5,14,6],[14,10,14,11],[15,2,15,4],[15,5,15,6],[15,10,15,11],[16,0,16,13],[20,3,20,13],[21,0,21,13],[22,0,22,5],[22,6,22,10],[22,11,22,13],[23,0,25,0],[23,1,25,1],[23,2,25,3],[23,4,25,4],[23,5,25,6],[23,7,25,7],[23,8,23,13],[24,8,25,8],[24,9,25,9],[24,10,24,13],[25,10,25,11],[26,0,28,0],[26,1,28,1],[26,2,28,3],[26,4,28,4],[26,5,28,6],[26,7,28,7],[26,8,28,8],[26,9,28,9],[26,10,28,11],[26,12,28,12],[26,13,28,13],[29,0,31,0],[29,1,31,1],[29,2,31,3],[29,4,31,4],[29,5,31,6],[29,7,31,7],[29,8,31,8],[29,9,31,9],[29,10,31,11],[29,12,31,12],[29,13,31,13],[32,2,32,4],[32,5,32,6],[32,10,32,11],[33,0,34,0],[33,1,34,1],[33,2,34,3],[33,4,34,4],[33,5,34,6],[33,7,34,7],[33,8,34,8],[33,9,34,9],[33,10,34,11],[33,12,34,12],[33,13,34,13],[35,0,36,0],[35,1,36,1],[35,2,36,3],[35,4,36,4],[35,5,36,6],[35,7,36,7],[35,8,36,8],[35,9,36,9],[35,10,36,11],[35,12,36,12],[35,13,36,13],[37,0,37,13],[39,3,39,13],[40,0,40,13],[41,0,41,5],[41,6,41,10],[41,11,41,13],[42,0,44,0],[42,1,44,1],[42,2,44,3],[42,4,44,4],[42,5,44,6],[42,7,44,7],[42,8,42,13],[43,8,44,8],[43,9,44,9],[43,10,43,13],[44,10,44,11],[45,0,46,0],[45,1,46,1],[45,2,46,3],[45,4,46,4],[45,5,46,6],[45,7,46,7],[45,8,46,8],[45,9,46,9],[45,10,46,11],[45,12,46,12],[45,13,46,13],[47,0,49,0],[47,1,49,1],[47,2,49,3],[47,4,49,4],[47,5,49,6],[47,7,49,7],[47,8,49,8],[47,9,49,9],[47,10,49,11],[47,12,49,12],[47,13,49,13],[50,0,51,0],[50,1,51,1],[50,2,51,3],[50,4,51,4],[50,5,51,6],[50,7,51,7],[50,8,51,8],[50,9,51,9],[50,10,51,11],[50,12,51,12],[50,13,51,13],[52,0,53,0],[52,1,53,1],[52,2,53,3],[52,4,53,4],[52,5,53,6],[52,7,53,7],[52,8,53,8],[52,9,53,9],[52,10,53,11],[52,12,53,12],[52,13,53,13],[54,2,54,4],[54,5,54,6],[54,10,54,11],[55,2,55,4],[55,5,55,6],[55,10,55,11],[56,0,57,0],[56,1,57,1],[56,2,57,3],[56,4,57,4],[56,5,57,6],[56,7,57,7],[56,8,57,8],[56,9,57,9],[56,10,57,11],[56,12,57,12],[56,13,57,13],[58,0,58,13],[59,3,59,13],[60,0,60,13],[61,0,61,5],[61,6,61,10],[61,11,61,13],[62,0,64,0],[62,1,64,1],[62,2,64,3],[62,4,64,4],[62,5,64,6],[62,7,64,7],[62,8,62,13],[63,8,64,8],[63,9,64,9],[63,10,63,13],[64,10,64,11],[65,0,67,0],[65,1,67,1],[65,2,67,3],[65,4,67,4],[65,5,67,6],[65,7,67,7],[65,8,67,8],[65,9,67,9],[65,10,67,11],[65,12,67,12],[65,13,67,13],[68,2,68,4],[68,5,68,6],[68,10,68,11],[69,2,69,4],[69,5,69,6],[69,10,69,11],[70,0,72,0],[70,1,72,1],[70,2,72,3],[70,4,72,4],[70,5,72,6],[70,7,72,7],[70,8,72,8],[70,9,72,9],[70,10,72,11],[70,12,72,12],[70,13,72,13],[73,0,74,0],[73,1,74,1],[73,2,74,3],[73,4,74,4],[73,5,74,6],[73,7,74,7],[73,8,74,8],[73,9,74,9],[73,10,74,11],[73,12,74,12],[73,13,74,13],[75,0,76,0],[75,1,76,1],[75,2,76,3],[75,4,76,4],[75,5,76,6],[75,7,76,7],[75,8,76,8],[75,9,76,9],[75,10,76,11],[75,12,76,12],[75,13,76,13],[77,0,77,13],[79,3,79,13],[80,0,80,13],[81,0,81,5],[81,6,81,10],[81,11,81,13],[82,0,84,0],[82,1,84,1],[82,2,84,3],[82,4,84,4],[82,5,84,6],[82,7,84,7],[82,8,82,13],[83,8,84,8],[83,9,84,9],[83,10,83,13],[84,10,84,11],[85,0,86,0],[85,1,86,1],[85,2,86,3],[85,4,86,4],[85,5,86,6],[85,7,86,7],[85,8,86,8],[85,9,86,9],[85,10,86,11],[85,12,86,12],[85,13,86,13],[87,0,88,0],[87,1,88,1],[87,2,88,3],[87,4,88,4],[87,5,88,6],[87,7,88,7],[87,8,88,8],[87,9,88,9],[87,10,88,11],[87,12,88,12],[87,13,88,13],[89,2,89,4],[89,5,89,6],[89,10,89,11],[90,2,90,4],[90,5,90,6],[90,10,90,11],[91,0,92,0],[91,1,92,1],[91,2,92,3],[91,4,92,4],[91,5,92,6],[91,7,92,7],[91,8,92,8],[91,9,92,9],[91,10,92,11],[91,12,92,12],[91,13,92,13],[93,0,95,0],[93,1,95,1],[93,2,95,3],[93,4,95,4],[93,5,95,6],[93,7,95,7],[93,8,95,8],[93,9,95,9],[93,10,95,11],[93,12,95,12],[93,13,95,13],[96,2,96,4],[96,5,96,6],[96,10,96,11],[97,2,97,4],[97,5,97,6],[97,10,97,11],[98,0,98,13],[100,3,100,13],[101,0,101,13],[102,0,102,5],[102,6,102,10],[102,11,102,13],[103,0,105,0],[103,1,105,1],[103,2,105,3],[103,4,105,4],[103,5,105,6],[103,7,105,7],[103,8,103,13],[104,8,105,8],[104,9,105,9],[104,10,104,13],[105,10,105,11],[106,0,107,0],[106,1,107,1],[106,2,107,3],[106,4,107,4],[106,5,107,6],[106,7,107,7],[106,8,107,8],[106,9,107,9],[106,10,107,11],[106,12,107,12],[106,13,107,13],[108,2,108,4],[108,5,108,6],[108,10,108,11],[109,2,109,4],[109,5,109,6],[109,10,109,11],[110,0,112,0],[110,1,112,1],[110,2,112,3],[110,4,112,4],[110,5,112,6],[110,7,112,7],[110,8,112,8],[110,9,112,9],[110,10,112,11],[110,12,112,12],[110,13,112,13],[113,0,114,0],[113,1,114,1],[113,2,114,3],[113,4,114,4],[113,5,114,6],[113,7,114,7],[113,8,114,8],[113,9,114,9],[113,10,114,11],[113,12,114,12],[113,13,114,13],[115,2,115,4],[115,5,115,6],[115,10,115,11],[116,2,116,4],[116,5,116,6],[116,10,116,11],[117,0,119,0],[117,1,119,1],[117,2,119,3],[117,4,119,4],[117,5,119,6],[117,7,119,7],[117,8,119,8],[117,9,119,9],[117,10,119,11],[117,12,119,12],[117,13,119,13],[120,0,120,13],[121,3,121,13],[122,0,122,13],[123,0,123,5],[123,6,123,10],[123,11,123,13],[124,0,126,0],[124,1,126,1],[124,2,126,3],[124,4,126,4],[124,5,126,6],[124,7,126,7],[124,8,124,13],[125,8,126,8],[125,9,126,9],[125,10,125,13],[126,10,126,11],[127,0,128,0],[127,1,128,1],[127,2,128,3],[127,4,128,4],[127,5,128,6],[127,7,128,7],[127,8,128,8],[127,9,128,9],[127,10,128,11],[127,12,128,12],[127,13,128,13],[129,2,129,4],[129,5,129,6],[129,10,129,11],[130,2,130,4],[130,5,130,6],[130,10,130,11],[131,0,132,0],[131,1,132,1],[131,2,132,3],[131,4,132,4],[131,5,132,6],[131,7,132,7],[131,8,132,8],[131,9,132,9],[131,10,132,11],[131,12,132,12],[131,13,132,13],[133,0,135,0],[133,1,135,1],[133,2,135,3],[133,4,135,4],[133,5,135,6],[133,7,135,7],[133,8,135,8],[133,9,135,9],[133,10,135,11],[133,12,135,12],[133,13,135,13],[136,0,137,0],[136,1,137,1],[136,2,137,3],[136,4,137,4],[136,5,137,6],[136,7,137,7],[136,8,137,8],[136,9,137,9],[136,10,137,11],[136,12,137,12],[136,13,137,13],[138,0,139,0],[138,1,139,1],[138,2,139,3],[138,4,139,4],[138,5,139,6],[138,7,139,7],[138,8,139,8],[138,9,139,9],[138,10,139,11],[138,12,139,12],[138,13,139,13],[140,2,140,4],[140,5,140,6],[140,10,140,11],[141,2,141,4],[141,5,141,6],[141,10,141,11],[142,0,142,13],[144,3,144,13],[145,0,145,13],[146,0,146,5],[146,6,146,10],[146,11,146,13],[147,0,149,0],[147,1,149,1],[147,2,149,3],[147,4,149,4],[147,5,149,6],[147,7,149,7],[147,8,147,13],[148,8,149,8],[148,9,149,9],[148,10,148,13],[149,10,149,11],[150,2,150,3],[150,5,150,6],[150,10,150,11],[151,2,151,4],[151,5,151,6],[151,10,151,11],[152,0,152,13],[161,3,161,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
[null,"0111","楼地面装饰工程",{"$nulls":4},"","","50105.85","",null,"",""]
["1","011103001001","橡胶板楼地面",null,"1．自流平打底\n2．面层材料品种、规格、颜色：2mm厚浅灰色通透塑胶地板\n3．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"252.430","125.13","31586.57","3170.52",null,"95.92",""]
[]
["2","011103001002","橡胶板楼地面 （展示地台）",null,"1．木龙骨高出地面24cm\n2．15mm厚阻燃板地台\n3．面层材料品种、规格、颜色：2mm厚浅灰色通透塑胶地板\n4．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"5.040","273.89","1380.41","187.84",null,"6.70",""]
[]
[]
["3","011104002001","竹、木（复合）地板",null,"1．木龙骨高出地面14cm\n2．15mm厚阻燃板地台\n3．面层材料品种、规格、颜色：8mm厚米黄色复合木地板\n4．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"58.240","294.28","17138.87","2170.60",null,"86.78",""]
[]
[]
[null,null,"分部小计",{"$nulls":4},"","","50105.85","",null,"",""]
[null,"0112","墙、柱面装饰与隔断、幕墙工程",{"$nulls":4},"","","151867.99","",null,"",""]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["4","011207001001","轻钢龙骨双面石膏板隔墙（含弧形）",null,"1．轻钢龙骨\n2．基层材料种类、规格：15mm阻燃板打底\n3．面层材料品种、规格、品牌、颜色：9.5mm石膏板\n4．按照龙骨高度计算工程量，基层及面层工程量由施工单位自行核算\n5．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"708.560","79.59","56394.29","7340.68",null,"495.99",""]
[]
[]
["5","011207001002","轻钢龙骨单面石膏板隔墙",null,"1．轻钢龙骨\n2．基层材料种类、规格：15mm阻燃板打底\n3．面层材料品种、规格、品牌、颜色：9.5mm石膏板\n4．按照龙骨高度计算工程量，基层及面层工程量由施工单位自行核算\n5．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"34.030","84.14","2863.28","375.01",null,"25.52",""]
[]
[]
[null,"00001","A立面",{"$nulls":4},"","","31722.53","",null,"",""]
["6","011207001003","假梁",null,"1．轻钢龙骨\n2．基层材料种类、规格：15mm阻燃板\n3．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"8.120","110.63","898.32","101.91",null,"7.80",""]
[]
["7","010801004001","木质乙级防火门",null,"1．门代号及洞口尺寸：1800*2200mm\n2．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"7.920","357.97","2835.12","288.29",null,"4.04",""]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":5},"标段：",{"$nulls":4},"第3页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["8","010807001001","固定玻璃观察窗",null,"1．窗材质：铝合金\n2．玻璃品种、厚度：10mm钢化玻璃\n3．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"27.000","294.52","7952.04","446.04",null,"42.39",""]
[]
["9","WB011105006001","成品踢脚线",null,"1．踢脚线高度：60mm\n2．基层材料种类、规格：15mm阻燃板\n3．面层材料品种、规格、颜色：1.2mm厚铝合金\n4．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m",null,"68.600","35.13","2409.92","378.67",null,"35.67",""]
[]
[]
["10","011207001004","墙面装饰板",null,"1．面层材料品种、规格、品牌、颜色：8mm碳晶板\n2．线条灯带\n3．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"33.000","150.36","4961.88","1388.64",null,"9.90",""]
[]
["11","011406001001","抹灰面油漆",null,"1．腻子2遍\n2．油漆品种、刷漆遍数：乳胶漆1底2面\n3．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"593.220","21.35","12665.25","4698.30",null,"106.78",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","31722.53","",null,"",""]
[null,"00002","B立面",{"$nulls":4},"","","16923.57","",null,"",""]
["12","011207001005","墙面装饰板",null,"1．面层材料品种、规格、品牌、颜色：8mm碳晶板\n2．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"6.300","76.51","482.01","83.79",null,"1.89",""]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":5},"标段：",{"$nulls":4},"第4页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["13","010805005001","不锈钢玻璃门",null,"1．门框材质：1.2厚黑拉丝不锈钢\n2．玻璃品种、厚度：10mm钢化玻璃\n3．含两侧固定玻璃\n4．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"18.560","885.86","16441.56","535.27",null,"18.19",""]
[]
[]
[null,null,"分部小计",{"$nulls":4},"","","16923.57","",null,"",""]
[null,"00003","C立面",{"$nulls":4},"","","18424.95","",null,"",""]
["14","WB011105006002","成品踢脚线",null,"1．踢脚线高度：60mm\n2．基层材料种类、规格：15mm阻燃板\n3．面层材料品种、规格、颜色：1.2mm厚铝合金\n4．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m",null,"36.200","35.13","1271.71","199.82",null,"18.82",""]
[]
[]
["15","011207001006","墙面装饰板",null,"1．面层材料品种、规格、品牌、颜色：8mm碳晶板\n2．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"97.600","76.51","7467.38","1298.08",null,"29.28",""]
[]
["16","011207001007","墙面装饰板",null,"1．面层材料品种、规格、品牌、颜色：铝方管\n2．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"7.300","242.36","1769.23","107.31",null,"2.19",""]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":5},"标段：",{"$nulls":4},"第5页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["17","011207001008","墙面装饰板",null,"1．基层材料种类、规格：15mm阻燃板打底\n2．面层材料品种、规格、品牌、颜色：4mm鱼肚白铝塑板饰面\n3．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"10.300","185.11","1906.63","259.56",null,"15.45",""]
[]
["18","WB011501001001","膳食魔方",null,"1．满足业主、设计要求\n2．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"6.010","1000.00","6010.00","",null,"",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","18424.95","",null,"",""]
[null,"00004","D立面",{"$nulls":4},"","","16923.57","",null,"",""]
["19","011207001009","墙面装饰板",null,"1．面层材料品种、规格、品牌、颜色：8mm碳晶板\n2．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"6.300","76.51","482.01","83.79",null,"1.89",""]
[]
["20","010805005002","不锈钢玻璃门",null,"1．门框材质：1.2厚黑拉丝不锈钢\n2．玻璃品种、厚度：10mm钢化玻璃\n3．含两侧固定玻璃\n4．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"18.560","885.86","16441.56","535.27",null,"18.19",""]
[]
[]
[null,null,"分部小计",{"$nulls":4},"","","16923.57","",null,"",""]
[null,"00005","E立面",{"$nulls":4},"","","5247.40","",null,"",""]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":5},"标段：",{"$nulls":4},"第6页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["21","011406001002","抹灰面油漆",null,"1．腻子2遍\n2．油漆品种、刷漆遍数：乳胶漆1底2面\n3．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"245.780","21.35","5247.40","1946.58",null,"44.24",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","5247.40","",null,"",""]
[null,"00006","F立面",{"$nulls":4},"","","1684.20","",null,"",""]
["22","WB011105006003","成品踢脚线",null,"1．踢脚线高度：60mm\n2．基层材料种类、规格：15mm阻燃板\n3．面层材料品种、规格、颜色：1.2mm厚铝合金\n4．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m",null,"5.560","35.13","195.32","30.69",null,"2.89",""]
[]
[]
["23","011207001010","墙面装饰板",null,"1．面层材料品种、规格、品牌、颜色：8mm碳晶板\n2．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"19.460","76.51","1488.88","258.82",null,"5.84",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","1684.20","",null,"",""]
[null,"00007","G立面",{"$nulls":4},"","","1684.20","",null,"",""]
["24","WB011105006004","成品踢脚线",null,"1．踢脚线高度：60mm\n2．基层材料种类、规格：15mm阻燃板\n3．面层材料品种、规格、颜色：1.2mm厚铝合金\n4．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m",null,"5.560","35.13","195.32","30.69",null,"2.89",""]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":5},"标段：",{"$nulls":4},"第7页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["25","011207001011","墙面装饰板",null,"1．面层材料品种、规格、品牌、颜色：8mm碳晶板\n2．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"19.460","76.51","1488.88","258.82",null,"5.84",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","1684.20","",null,"",""]
[null,"0113","天棚工程",{"$nulls":4},"","","53473.63","",null,"",""]
["26","011406001004","抹灰面油漆",null,"1．腻子2遍\n2．油漆品种、刷漆遍数：乳胶漆1底2面\n3．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"247.200","21.35","5277.72","1957.82",null,"44.50",""]
[]
["27","011302002001","格栅吊顶",null,"1．含吊筋、龙骨、反支撑等\n2．格栅规格、种类：50mm*90mm@100mm木纹色铝方通\n3．沿墙四周25mm宽同色收边条\n4．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"247.200","173.52","42894.14","4602.86",null,"121.13",""]
[]
[]
["28","WB011302005001","吊顶天棚",null,"1．含吊筋、龙骨、反支撑等\n2．面层材料品种、规格：9.5mm石膏板\n3．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"53.480","80.31","4294.98","1239.13",null,"35.83",""]
[]
["29","011304001001","灯带（槽）",null,"1．灯带形式、尺寸：直线型，100宽\n2．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m",null,"13.820","72.85","1006.79","172.20",null,"",""]
[]
[null,null,"分部小计",{"$nulls":4},"","","53473.63","",null,"",""]
[null,"0117","措施项目",{"$nulls":4},"","","2010.11","",null,"",""]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":5},"标段：",{"$nulls":4},"第8页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["30","011701006001","满堂脚手架",null,"1．其他未尽事宜，详见施工设计图纸，图纸答疑、招标文件及相关资料","m2",null,"318.560","6.31","2010.11","930.20",null,"175.21",""]
[null,null,"分部小计",{"$nulls":4},"","","2010.11","",null,"",""]
{"$rows_empty":9}
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.3 附录F 措施项目清单计价表","index":3,"n_rows":21,"n_cols":9,"rows_kept":21,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,0,11,7],[20,2,20,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","JC-01",null,"夜间施工增加费",null,"36538.96","0.500",null,"182.69"]
["2","JC-02",null,"二次搬运费",null,"36538.96","1.000",null,"365.39"]
["3","JC-03",null,"冬雨季施工增加费",null,"36538.96","0.800",null,"292.31"]
["4","JC-04",null,"已完工程及设备保护费",null,"36538.96","0.100",null,"36.54"]
["5","JC-05",null,"工程定位复测费",null,"36538.96","1.000",null,"365.39"]
["6","JC-06",null,"非夜间施工照明费",null,"36538.96","0.400",null,"146.16"]
["7","JC-07",null,"临时保护设施费",null,"36538.96","0.200",null,"73.08"]
["8","JC-08",null,"赶工措施费",null,"36538.96","2.200",null,"803.86"]
["合   计",{"$nulls":7},"2265.42"]
{"$rows_empty":8}
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.4 附录G 不可竞争项目清单与计价表","index":4,"n_rows":18,"n_cols":9,"rows_kept":18,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,0,8,7],[17,2,17,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","JF-01",null,"环境保护费",null,"36538.96","3.280",null,"1198.48"]
["2","JF-02",null,"文明施工费",null,"36538.96","5.120",null,"1870.79"]
["3","JF-03",null,"安全施工费",null,"36538.96","4.130",null,"1509.06"]
["4","JF-04",null,"临时设施费",null,"36538.96","8.100",null,"2959.66"]
["5","JF-05",null,"环境保护税",null,"0","",null,""]
["合   计",{"$nulls":7},"7537.99"]
{"$rows_empty":8}
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.5 H.1 其他项目清单与计价汇总表","index":5,"n_rows":18,"n_cols":6,"rows_kept":18,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[8,0,8,3],[8,4,8,5],[17,2,17,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
[]
["合  计",{"$nulls":3},""]
{"$rows_empty":8}
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.6 附录I 税金计价表","index":6,"n_rows":15,"n_cols":9,"rows_kept":15,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,0,4,7],[14,2,14,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费",null,"267260.99",null,"9.000","24053.49"]
["合  计",{"$nulls":7},"24053.49"]
{"$rows_empty":9}
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.7 材料汇总表","index":7,"n_rows":104,"n_cols":10,"rows_kept":104,"merged":[[0,0,0,9],[1,0,1,3],[1,4,1,6],[1,7,1,9],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,0,34,9],[35,2,35,9],[36,0,36,9],[37,0,37,3],[37,4,37,6],[37,7,37,9],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,1,41,2],[41,3,41,4],[41,6,41,7],[42,1,42,2],[42,3,42,4],[42,6,42,7],[43,1,43,2],[43,3,43,4],[43,6,43,7],[44,1,44,2],[44,3,44,4],[44,6,44,7],[45,1,45,2],[45,3,45,4],[45,6,45,7],[46,1,46,2],[46,3,46,4],[46,6,46,7],[47,1,47,2],[47,3,47,4],[47,6,47,7],[48,1,48,2],[48,3,48,4],[48,6,48,7],[49,1,49,2],[49,3,49,4],[49,6,49,7],[50,1,50,2],[50,3,50,4],[50,6,50,7],[51,1,51,2],[51,3,51,4],[51,6,51,7],[52,1,52,2],[52,3,52,4],[52,6,52,7],[53,1,53,2],[53,3,53,4],[53,6,53,7],[54,1,54,2],[54,3,54,4],[54,6,54,7],[55,1,55,2],[55,3,55,4],[55,6,55,7],[56,1,56,2],[56,3,56,4],[56,6,56,7],[57,1,57,2],[57,3,57,4],[57,6,57,7],[58,1,58,2],[58,3,58,4],[58,6,58,7],[59,1,59,2],[59,3,59,4],[59,6,59,7],[60,1,60,2],[60,3,60,4],[60,6,60,7],[61,1,61,2],[61,3,61,4],[61,6,61,7],[62,1,62,2],[62,3,62,4],[62,6,62,7],[63,1,63,2],[63,3,63,4],[63,6,63,7],[64,1,64,2],[64,3,64,4],[64,6,64,7],[65,1,65,2],[65,3,65,4],[65,6,65,7],[66,1,66,2],[66,3,66,4],[66,6,66,7],[67,1,67,2],[67,3,67,4],[67,6,67,7],[68,1,68,2],[68,3,68,4],[68,6,68,7],[69,1,69,2],[69,3,69,4],[69,6,69,7],[70,1,70,2],[70,3,70,4],[70,6,70,7],[71,1,71,2],[71,3,71,4],[71,6,71,7],[72,1,72,2],[72,3,72,4],[72,6,72,7],[73,1,73,2],[73,3,73,4],[73,6,73,7],[74,1,74,2],[74,3,74,4],[74,6,74,7],[75,1,75,2],[75,3,75,4],[75,6,75,7],[76,1,76,2],[76,3,76,4],[76,6,76,7],[77,0,77,9],[78,2,78,9],[79,0,79,9],[80,0,80,3],[80,4,80,6],[80,7,80,9],[81,1,81,2],[81,3,81,4],[81,6,81,7],[82,1,82,2],[82,3,82,4],[82,6,82,7],[83,1,83,2],[83,3,83,4],[83,6,83,7],[84,1,84,2],[84,3,84,4],[84,6,84,7],[85,1,85,2],[85,3,85,4],[85,6,85,7],[86,1,86,2],[86,3,86,4],[86,6,86,7],[87,1,87,2],[87,3,87,4],[87,6,87,7],[88,1,88,2],[88,3,88,4],[88,6,88,7],[89,1,89,2],[89,3,89,4],[89,6,89,7],[90,1,90,2],[90,3,90,4],[90,6,90,7],[91,1,91,2],[91,3,91,4],[91,6,91,7],[92,1,92,2],[92,3,92,4],[92,6,92,7],[93,1,93,2],[93,3,93,4],[93,6,93,7],[94,1,94,2],[94,3,94,4],[94,6,94,7],[96,0,96,7],[103,2,103,9]],"flags":["formulas_cached_only"]}
["材料汇总表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":3},"标段：",null,null,"第1页 共3页"]
["材料编号","材料名称",null,"单位",null,"材料用量","单价",null,"合价","暂估/甲供"]
["0000A31B01AH","其他材料费",null,"元",null,"3300.342","1.00",null,"3300.34"]
["0103A03B55CB","镀锌铁丝 16号",null,"kg",null,"14.832","6.61",null,"98.04"]
["0103A03B59CB","镀锌铁丝 8号",null,"kg",null,"37.380","6.61",null,"247.08"]
["0131A03B01C51BW~1","铝方管",null,"m2",null,"7.884","200.00",null,"1576.80"]
["0301A01B05C01BF","铆钉",null,"个",null,"11859.416","0.06",null,"711.56"]
["0301A03B01C01BB","38钢钉",null,"盒",null,"1.230","6.00",null,"7.38"]
["0301A03B11C01CB","不锈钢钉",null,"kg",null,"4.498","30.00",null,"134.95"]
["0301A03B29C15BF","镀锌自攻螺钉ST 4～6×20～35",null,"个",null,"312.700","0.26",null,"81.30"]
["0301A03B41C01BF","自攻螺丝 M25×2.5",null,"个",null,"110.169","0.03",null,"3.31"]
["0301A03B45C89AK","配套穿心螺丝 M6×30",null,"套",null,"414.036","0.35",null,"144.91"]
["0301A03B63C01BP","自攻螺丝",null,"百个",null,"86.931","3.00",null,"260.79"]
["0301A03B63C54BP","自攻螺丝 M25×2.5",null,"百个",null,"18.451","3.00",null,"55.35"]
["0301A07B07C55AK","膨胀螺栓 M8",null,"套",null,"96.170","0.25",null,"24.04"]
["0301A07B07C79AK","膨胀螺栓 M8×80",null,"套",null,"961.736","0.30",null,"288.52"]
["0303A27B01BG","地弹簧",null,"副",null,"18.560","134.62",null,"2498.55"]
["0303A33B61AE","镀锌膨胀头组 φ8",null,"只",null,"414.036","0.90",null,"372.63"]
["0313A11B57BF","冲击钻头 φ10",null,"个",null,"0.649","5.98",null,"3.88"]
["0313A36B01AG","砂纸",null,"张",null,"271.550","0.47",null,"127.63"]
["0313A71B01BF","合金钢钻头",null,"个",null,"13.212","7.80",null,"103.06"]
["0313A71B61BF","合金钢钻头 φ14",null,"个",null,"3.090","5.50",null,"17.00"]
["0315A01B01C01BB","F30气枪钉",null,"盒",null,"5.482","7.50",null,"41.12"]
["0315A01B21C01CB","水泥钉",null,"kg",null,"3.164","11.97",null,"37.87"]
["0315A01B25C01CB","铁钉",null,"kg",null,"31.622","3.56",null,"112.57"]
["0315A21B63C67BF","支撑卡 75",null,"个",null,"2008.149","0.30",null,"602.44"]
["0315A21B69C01CB","镀锌丝杆",null,"kg",null,"832.884","4.80",null,"3997.84"]
["0409A35B01CB","耐水腻子",null,"kg",null,"1612.681","2.03",null,"3273.74"]
["0409A53B01CB","石膏",null,"kg",null,"43.448","0.50",null,"21.72"]
["0503A17B01BV","工程用材",null,"m3",null,"2.075","2250.00",null,"4668.61"]
["0503A27B01BV","木方",null,"m3",null,"0.021","1675.21",null,"35.84"]
["0505A07B01BW~1","15mm阻燃板",null,"m2",null,"12.172","44.34",null,"539.69"]
["0509A01B51BW","细木工板 18mm",null,"m2",null,"6.965","44.34",null,"308.84"]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["材料汇总表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":3},"标段：",null,null,"第2页 共3页"]
["材料编号","材料名称",null,"单位",null,"材料用量","单价",null,"合价","暂估/甲供"]
["0509A01B51BW~1","15MM厚阻燃板",null,"m2",null,"66.444","44.34",null,"2946.13"]
["0509A01B51BW~2","15mm阻燃板",null,"m2",null,"287.805","44.34",null,"12761.27"]
["0525A07B01BP","木楔",null,"百个",null,"1.495","2.00",null,"2.99"]
["0655A03B01BW~1","8mm碳晶板",null,"m2",null,"187.584","40.00",null,"7503.34"]
["0713A01B01BW~1","8mm厚米黄色复合木地板",null,"m2",null,"61.152","115.00",null,"7032.48"]
["0721A03B01BW~1","2mm厚浅灰色通透塑胶地板",null,"m2",null,"270.344","85.00",null,"22979.20"]
["0901A01B51BW~1","石膏板 9.5mm",null,"m2",null,"268.464","9.50",null,"2550.41"]
["0901A01B53BW","石膏板 9.5mm",null,"m2",null,"65.323","9.50",null,"620.57"]
["0913A03B53BW~1","4mm鱼肚白铝塑板",null,"m2",null,"11.124","85.85",null,"955.00"]
["0937A01B01BW","成品铝格栅（含配件）",null,"m2",null,"259.560","60.00",null,"15573.60"]
["1001A05B55BY","穿心龙骨 38×12×1",null,"m",null,"347.954","2.80",null,"974.27"]
["1001A07B01BY","轻钢边龙骨",null,"m",null,"34.548","2.40",null,"82.92"]
["1001A11B57BY","轻钢龙骨 75×40×0.6（横向龙骨）",null,"m",null,"708.220","7.84",null,"5552.44"]
["1001A11B59BY","轻钢龙骨 75×50×0.7（竖向龙骨）",null,"m",null,"2652.484","9.37",null,"24853.77"]
["1001A11B61BY","50轻钢副龙骨 0.5mm厚",null,"m",null,"90.702","4.60",null,"417.23"]
["1001A13B01BY","50轻钢主龙骨",null,"m",null,"382.465","5.60",null,"2141.80"]
["1003A05B01BY","铝合金条板L形边龙骨",null,"m",null,"197.760","3.42",null,"676.34"]
["1003A07B01BY","铝合金条板龙骨",null,"m",null,"314.438","4.90",null,"1540.75"]
["1013A01B01BF","50副龙骨挂件",null,"个",null,"104.735","0.40",null,"41.89"]
["1013A03B01BF","50副龙骨连接件",null,"个",null,"30.232","0.40",null,"12.09"]
["1013A05B01BF","50主龙骨连接件",null,"个",null,"23.312","0.35",null,"8.16"]
["1013A09B01BF","C50不上人型主吊件",null,"个",null,"414.036","0.45",null,"186.32"]
["1017A01B01BF","连接件",null,"个",null,"123.600","0.30",null,"37.08"]
["1100A05B01BW~1","固定玻璃观察窗",null,"m2",null,"27.000","257.74",null,"6958.98"]
["1101A09B01BW~1","木质防火门（成品） 乙级，双扇",null,"m2",null,"7.920","305.33",null,"2418.21"]
["1119A01B01BW~1","不锈钢玻璃门",null,"m2",null,"35.635","800.00",null,"28508.16"]
["1200A07B01BF","转角连接件",null,"个",null,"8.771","0.50",null,"4.39"]
["1203A07B01BW~1","1.2mm厚铝合金",null,"m2",null,"12.172","200.00",null,"2434.32"]
["1301A03B01CB","白乳胶",null,"kg",null,"50.749","5.38",null,"273.03"]
["1303A35B01CB","内墙乳胶漆底漆",null,"kg",null,"138.491","21.77",null,"3014.94"]
["1303A41B01CB","乳胶漆面漆",null,"kg",null,"271.007","16.37",null,"4436.38"]
["1303A47B01CB","水泥自流平混合料",null,"kg",null,"833.019","2.00",null,"1666.04"]
["1305A69B01CB","红丹防锈漆",null,"kg",null,"1.363","11.50",null,"15.68"]
["1401A01B01CB","防腐油",null,"kg",null,"5.572","1.46",null,"8.13"]
["1405A13B01CB","油漆溶剂油",null,"kg",null,"0.155","2.62",null,"0.41"]
["1441A01B01CB","108胶",null,"kg",null,"10.862","2.00",null,"21.72"]
["1441A15B53AF","玻璃胶 310mL",null,"支",null,"196.690","7.80",null,"1534.18"]
["1441A51B63CB","胶粘剂 504",null,"kg",null,"90.115","32.00",null,"2883.66"]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["材料汇总表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（装饰）",{"$nulls":3},"标段：",null,null,"第3页 共3页"]
["材料编号","材料名称",null,"单位",null,"材料用量","单价",null,"合价","暂估/甲供"]
["1441A81B01CB","耐候密封胶",null,"kg",null,"0.515","20.00",null,"10.30"]
["1441A93B01CB","万能胶",null,"kg",null,"9.283","18.00",null,"167.09"]
["1443A21B01BY","双面胶带",null,"m",null,"466.227","0.25",null,"116.56"]
["1700A05B57BF","镀锌槽型吊码 单边δ=3",null,"个",null,"97.232","0.51",null,"49.59"]
["1701A09B53CB","钢管 DN50",null,"kg",null,"15.593","4.43",null,"69.08"]
["1831A11B01BF","底座",null,"个",null,"0.191","5.13",null,"0.98"]
["2803A35B63BY","铜芯塑料绝缘电线 BV-2.5mm2",null,"m",null,"180.363","1.32",null,"238.08"]
["2909A19B92BF","铜接线端子 20A",null,"个",null,"47.908","0.33",null,"15.81"]
["3502A03B01CB","钢扣件",null,"kg",null,"4.360","5.70",null,"24.85"]
["3504A17B01BV","木脚手板",null,"m3",null,"0.080","1307.59",null,"104.97"]
["CL-D00001","膳食魔方",null,"m2",null,"6.010","1000.00",null,"6010.00"]
["CL-D00002","反支撑",null,"m2",null,"247.200","50.00",null,"12360.00"]
["Z2500A01B01AK-189","成套灯具 嵌入式 单管",null,"套",null,"47.672","14.87",null,"708.88"]
[]
["合计",{"$nulls":7},"207201.87"]
[]
[]
[]
[]
[]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.1 D.3 单位工程最高投标限价汇总表","index":8,"n_rows":29,"n_cols":7,"rows_kept":29,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,5],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,0,22,3],[22,5,22,6],[28,2,28,6]],"flags":["formulas_cached_only"]}
["D.3 单位工程最高投标限价汇总表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（安装）",null,null,"标段：",null,null,"第1页 共1页"]
["序号","汇总内容",null,null,"金额(元)","其中：材料、设备暂估价（元）"]
["1","分部分项工程费",null,null,"29880.98",""]
["2","措施项目费",null,null,"445.97",""]
["2.1","  夜间施工增加费",null,null,"35.97",""]
["2.2","  二次搬运费",null,null,"71.93",""]
["2.3","  冬雨季施工增加费",null,null,"57.54",""]
["2.4","  已完工程及设备保护费",null,null,"7.19",""]
["2.5","  工程定位复测费",null,null,"71.93",""]
["2.6","  非夜间施工照明费",null,null,"28.77",""]
["2.7","  临时保护设施费",null,null,"14.39",""]
["2.8","  赶工措施费",null,null,"158.25",""]
["3","不可竞争费",null,null,"1483.92",""]
["3.1","  安全文明施工费",null,null,"1483.92",""]
["3.2","  环境保护税",null,null,"",""]
["4","其他项目",null,null,"",""]
["4.1","  暂列金额",null,null,"",""]
["4.2","  专业工程暂估价",null,null,"",""]
["4.3","  计日工",null,null,"",""]
["4.4","  总承包服务费",null,null,"",""]
["5","税金",null,null,"2862.98",""]
["工程造价=1+2+3+4+5",{"$nulls":3},"34673.85",""]
[]
[]
[]
[]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.2 E.1 分部分项工程量清单计价表(所有标题)","index":9,"n_rows":53,"n_cols":14,"rows_kept":53,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,0,6,0],[5,1,6,1],[5,2,6,3],[5,4,6,4],[5,5,6,6],[5,7,6,7],[5,8,6,8],[5,9,6,9],[5,10,6,11],[5,12,6,12],[5,13,6,13],[7,0,8,0],[7,1,8,1],[7,2,8,3],[7,4,8,4],[7,5,8,6],[7,7,8,7],[7,8,8,8],[7,9,8,9],[7,10,8,11],[7,12,8,12],[7,13,8,13],[9,0,10,0],[9,1,10,1],[9,2,10,3],[9,4,10,4],[9,5,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,11],[9,12,10,12],[9,13,10,13],[11,0,12,0],[11,1,12,1],[11,2,12,3],[11,4,12,4],[11,5,12,6],[11,7,12,7],[11,8,12,8],[11,9,12,9],[11,10,12,11],[11,12,12,12],[11,13,12,13],[13,0,14,0],[13,1,14,1],[13,2,14,3],[13,4,14,4],[13,5,14,6],[13,7,14,7],[13,8,14,8],[13,9,14,9],[13,10,14,11],[13,12,14,12],[13,13,14,13],[15,0,15,13],[16,3,16,13],[17,0,17,13],[18,0,18,5],[18,6,18,10],[18,11,18,13],[19,0,21,0],[19,1,21,1],[19,2,21,3],[19,4,21,4],[19,5,21,6],[19,7,21,7],[19,8,19,13],[20,8,21,8],[20,9,21,9],[20,10,20,13],[21,10,21,11],[22,0,23,0],[22,1,23,1],[22,2,23,3],[22,4,23,4],[22,5,23,6],[22,7,23,7],[22,8,23,8],[22,9,23,9],[22,10,23,11],[22,12,23,12],[22,13,23,13],[24,0,25,0],[24,1,25,1],[24,2,25,3],[24,4,25,4],[24,5,25,6],[24,7,25,7],[24,8,25,8],[24,9,25,9],[24,10,25,11],[24,12,25,12],[24,13,25,13],[26,0,27,0],[26,1,27,1],[26,2,27,3],[26,4,27,4],[26,5,27,6],[26,7,27,7],[26,8,27,8],[26,9,27,9],[26,10,27,11],[26,12,27,12],[26,13,27,13],[28,0,29,0],[28,1,29,1],[28,2,29,3],[28,4,29,4],[28,5,29,6],[28,7,29,7],[28,8,29,8],[28,9,29,9],[28,10,29,11],[28,12,29,12],[28,13,29,13],[30,0,31,0],[30,1,31,1],[30,2,31,3],[30,4,31,4],[30,5,31,6],[30,7,31,7],[30,8,31,8],[30,9,31,9],[30,10,31,11],[30,12,31,12],[30,13,31,13],[32,0,33,0],[32,1,33,1],[32,2,33,3],[32,4,33,4],[32,5,33,6],[32,7,33,7],[32,8,33,8],[32,9,33,9],[32,10,33,11],[32,12,33,12],[32,13,33,13],[34,0,34,13],[35,3,35,13],[36,0,36,13],[37,0,37,5],[37,6,37,10],[37,11,37,13],[38,0,40,0],[38,1,40,1],[38,2,40,3],[38,4,40,4],[38,5,40,6],[38,7,40,7],[38,8,38,13],[39,8,40,8],[39,9,40,9],[39,10,39,13],[40,10,40,11],[41,0,42,0],[41,1,42,1],[41,2,42,3],[41,4,42,4],[41,5,42,6],[41,7,42,7],[41,8,42,8],[41,9,42,9],[41,10,42,11],[41,12,42,12],[41,13,42,13],[43,0,44,0],[43,1,44,1],[43,2,44,3],[43,4,44,4],[43,5,44,6],[43,7,44,7],[43,8,44,8],[43,9,44,9],[43,10,44,11],[43,12,44,12],[43,13,44,13],[45,2,45,3],[45,5,45,6],[45,10,45,11],[46,0,46,13],[52,3,52,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（安装）",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共3页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["1","030404017001","配电箱",null,"1．名称：配电箱-KFDX\n2．规格：含箱内元器件安装及箱体安装\n3．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","台",null,"1.000","1144.59","1144.59","96.32",null,"",""]
[]
["2","030411001001","配管",null,"1．名称：电气配管\n2．规格：PC20\n3．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"698.560","8.91","6224.17","3401.99",null,"",""]
[]
["3","030411004001","配线",null,"1．名称：电气配线\n2．规格：BV-2.5\n3．配线部位：敷设在配管内\n4．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"2095.680","3.24","6790.00","1194.54",null,"",""]
[]
["4","030412004001","装饰灯",null,"1．名称：线条灯\n2．规格：1500mm*80mm\n3．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","套",null,"61.000","146.54","8938.94","845.46",null,"",""]
[]
["5","030412004002","装饰灯",null,"1．名称：线条灯\n2．规格：600mm*80mm\n3．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","套",null,"3.000","67.88","203.64","41.58",null,"",""]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（安装）",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共3页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["6","030412004003","装饰灯",null,"1．名称：嵌入式单头射灯\n2．规格：开孔尺寸95mm\n3．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","套",null,"39.000","82.77","3228.03","393.12",null,"",""]
[]
["7","030412004004","装饰灯",null,"1．名称：LED线条灯带\n2．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"22.220","31.10","691.04","211.53",null,"",""]
[]
["8","030412004005","装饰灯",null,"1．名称：消防应急照明筒灯\n2．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","套",null,"20.000","57.15","1143.00","277.20",null,"",""]
[]
["9","030404035001","插座",null,"1．名称：插座\n2．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"9.000","14.89","134.01","42.84",null,"",""]
[]
["10","030404034001","照明开关",null,"1．名称：双联开关\n2．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"7.000","11.53","80.71","27.44",null,"",""]
[]
["11","030411006001","接线盒",null,"1．名称：开关（插座）盒\n2．材质：塑料\n3．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"33.000","4.61","152.13","78.54",null,"",""]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（安装）",{"$nulls":5},"标段：",{"$nulls":4},"第3页 共3页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["12","030411006002","接线盒",null,"1．名称：接线盒\n2．材质：塑料\n3．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","个",null,"123.000","4.61","567.03","292.74",null,"",""]
[]
["13","030414002001","送配电装置系统",null,"1．名称：输配电装置系统调试\n2．电压等级（KV)：1KV\n3．未尽事宜详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","系统",null,"1.000","272.21","272.21","158.62",null,"41.09",""]
[]
["14","031301017001","脚手架搭拆",null,"脚手架搭拆","项",null,"1.000","311.48","311.48","90.03",null,"",""]
[]
[]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.3 附录F 措施项目清单计价表","index":10,"n_rows":21,"n_cols":9,"rows_kept":21,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,0,11,7],[20,2,20,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（安装）",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","JC-01",null,"夜间施工增加费",null,"7193.04","0.500",null,"35.97"]
["2","JC-02",null,"二次搬运费",null,"7193.04","1.000",null,"71.93"]
["3","JC-03",null,"冬雨季施工增加费",null,"7193.04","0.800",null,"57.54"]
["4","JC-04",null,"已完工程及设备保护费",null,"7193.04","0.100",null,"7.19"]
["5","JC-05",null,"工程定位复测费",null,"7193.04","1.000",null,"71.93"]
["6","JC-06",null,"非夜间施工照明费",null,"7193.04","0.400",null,"28.77"]
["7","JC-07",null,"临时保护设施费",null,"7193.04","0.200",null,"14.39"]
["8","JC-08",null,"赶工措施费",null,"7193.04","2.200",null,"158.25"]
["合   计",{"$nulls":7},"445.97"]
{"$rows_empty":8}
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.4 附录G 不可竞争项目清单与计价表","index":11,"n_rows":18,"n_cols":9,"rows_kept":18,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,0,8,7],[17,2,17,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（安装）",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","JF-01",null,"环境保护费",null,"7193.04","3.280",null,"235.93"]
["2","JF-02",null,"文明施工费",null,"7193.04","5.120",null,"368.28"]
["3","JF-03",null,"安全施工费",null,"7193.04","4.130",null,"297.07"]
["4","JF-04",null,"临时设施费",null,"7193.04","8.100",null,"582.64"]
["5","JF-05",null,"环境保护税",null,"0","",null,""]
["合   计",{"$nulls":7},"1483.92"]
{"$rows_empty":8}
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.5 H.1 其他项目清单与计价汇总表","index":12,"n_rows":18,"n_cols":6,"rows_kept":18,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[8,0,8,3],[8,4,8,5],[17,2,17,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（安装）",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
[]
["合  计",{"$nulls":3},""]
{"$rows_empty":8}
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.6 附录I 税金计价表","index":13,"n_rows":15,"n_cols":9,"rows_kept":15,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,0,4,7],[14,2,14,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（安装）",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费",null,"31810.87",null,"9.000","2862.98"]
["合  计",{"$nulls":7},"2862.98"]
{"$rows_empty":9}
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"4.7 材料汇总表","index":14,"n_rows":64,"n_cols":10,"rows_kept":64,"merged":[[0,0,0,9],[1,0,1,3],[1,4,1,6],[1,7,1,9],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,0,38,9],[39,2,39,9],[40,0,40,9],[41,0,41,3],[41,4,41,6],[41,7,41,9],[42,1,42,2],[42,3,42,4],[42,6,42,7],[43,1,43,2],[43,3,43,4],[43,6,43,7],[44,1,44,2],[44,3,44,4],[44,6,44,7],[45,1,45,2],[45,3,45,4],[45,6,45,7],[46,1,46,2],[46,3,46,4],[46,6,46,7],[47,1,47,2],[47,3,47,4],[47,6,47,7],[48,1,48,2],[48,3,48,4],[48,6,48,7],[49,1,49,2],[49,3,49,4],[49,6,49,7],[50,1,50,2],[50,3,50,4],[50,6,50,7],[51,1,51,2],[51,3,51,4],[51,6,51,7],[52,1,52,2],[52,3,52,4],[52,6,52,7],[53,1,53,2],[53,3,53,4],[53,6,53,7],[54,1,54,2],[54,3,54,4],[54,6,54,7],[55,1,55,2],[55,3,55,4],[55,6,55,7],[57,0,57,7],[63,2,63,9]],"flags":["formulas_cached_only"]}
["材料汇总表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（安装）",{"$nulls":3},"标段：",null,null,"第1页 共2页"]
["材料编号","材料名称",null,"单位",null,"材料用量","单价",null,"合价","暂估/甲供"]
["0103A03B15CB","镀锌铁丝 φ1.2～2.2",null,"kg",null,"2.794","6.61",null,"18.47"]
["0213A23B55AX","自粘性塑料带 20mm×20m",null,"卷",null,"0.150","4.27",null,"0.64"]
["0227A23B01CB","棉纱头",null,"kg",null,"4.291","6.00",null,"25.75"]
["0301A03B29C13BF","镀锌自攻螺钉ST 4～6×10～16",null,"个",null,"36.885","0.02",null,"0.74"]
["0301A03B43C17BF","木螺钉 M2～4×6～65",null,"个",null,"37.440","0.09",null,"3.37"]
["0301A03B43C77CE","木螺钉 M4×65",null,"10个",null,"232.830","0.50",null,"116.42"]
["0301A05B05C03CE","半圆头镀锌螺栓 M2～5×15～50",null,"10个",null,"1.456","0.90",null,"1.31"]
["0301A09B03C59CE","镀锌锁紧螺母 DN15×3",null,"10个",null,"16.068","3.40",null,"54.63"]
["0313A11B53BF","冲击钻头 φ8",null,"个",null,"16.193","5.38",null,"87.12"]
["0313A39B01AJ","钢锯条",null,"条",null,"6.986","0.34",null,"2.38"]
["0313A53B01BY","焊锡丝",null,"m",null,"0.080","0.37",null,"0.03"]
["0313A78B01CB","锡基钎料",null,"kg",null,"4.191","54.10",null,"226.75"]
["0315A21B39C01CB","平垫铁",null,"kg",null,"0.150","3.74",null,"0.56"]
["0315A21B49C11BF","塑料胀管 φ6～8",null,"个",null,"2292.425","0.07",null,"160.47"]
["1305A43B01CB","防锈漆",null,"kg",null,"0.010","5.62",null,"0.06"]
["1307A15B01CB","酚醛调和漆",null,"kg",null,"0.030","7.90",null,"0.24"]
["1403A05B01CB","汽油",null,"kg",null,"10.478","6.77",null,"70.94"]
["1409A01B01CB","电力复合脂",null,"kg",null,"0.410","20.00",null,"8.20"]
["1441A02B01CB","粘结剂",null,"kg",null,"0.699","2.88",null,"2.01"]
["1443A43B67AX","自粘性橡胶带 25mm×20m",null,"卷",null,"0.120","14.79",null,"1.77"]
["1719A01B63BY","金属软管 DN15",null,"m",null,"4.577","1.79",null,"8.19"]
["1725A45B00CB","塑料管（综合）",null,"kg",null,"0.180","11.42",null,"2.06"]
["1821A17B63BF","金属软管接头 DN15",null,"个",null,"22.887","0.17",null,"3.89"]
["2717A01B51AX","电气绝缘胶带 18mm×10m×0.13mm",null,"卷",null,"6.287","8.55",null,"53.75"]
["2801A33B05CB","硬铜绞线 TJ-2.5～4mm2",null,"m",null,"6.461","2.56",null,"16.54"]
["2803A35B63BY","铜芯塑料绝缘电线 BV-2.5mm2",null,"m",null,"178.126","1.32",null,"235.13"]
["2803A47B63BY","铜芯橡皮绝缘电线 BX-2.5mm2",null,"m",null,"0.240","1.23",null,"0.30"]
["2906A13B05BF","镀锌钢管塑料护口 DN15～20",null,"个",null,"160.680","0.05",null,"8.03"]
["2906A35B61BF","难燃塑料管接头 20",null,"个",null,"146.837","0.13",null,"19.09"]
["2906A37B61BF","难燃塑料管卡子 20",null,"个",null,"1174.768","0.08",null,"93.98"]
["2906A39B61BF","难燃塑料管三通 20",null,"个",null,"22.354","0.47",null,"10.51"]
["2906A41B61BF","难燃塑料管伸缩接头 20",null,"个",null,"14.670","0.22",null,"3.23"]
["2906A43B61BF","难燃塑料管弯头 20",null,"个",null,"14.670","0.17",null,"2.49"]
["2909A13B95BF","塑料接线柱 双线",null,"个",null,"104.829","0.70",null,"73.38"]
["2909A19B56BF","铜接线端子 DT-6",null,"个",null,"2.030","1.20",null,"2.44"]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["材料汇总表"]
["工程名称：亳州千香城市配送服务中心项目二层室内装饰项目（安装）",{"$nulls":3},"标段：",null,null,"第2页 共2页"]
["材料编号","材料名称",null,"单位",null,"材料用量","单价",null,"合价","暂估/甲供"]
["2909A19B92BF","铜接线端子 20A",null,"个",null,"138.377","0.33",null,"45.66"]
["Z2500A01B01AK-163~1","线条灯    1500mm*80mm",null,"套",null,"61.610","123.90",null,"7633.48"]
["Z2500A01B01AK-163~2","线条灯    600mm*80mm",null,"套",null,"3.030","46.02",null,"139.44"]
["Z2500A01B01AK-163~3","消防应急照明筒灯",null,"套",null,"20.200","35.40",null,"715.08"]
["Z2500A01B01AK-199~1","嵌入式单头射灯    开孔尺寸95mm",null,"套",null,"39.390","67.26",null,"2649.37"]
["Z2500A01B01AK-218~1","LED线条灯带",null,"套",null,"17.954","14.87",null,"266.97"]
["Z2605A01B01AE-5~1","双联开关",null,"只",null,"7.140","5.22",null,"37.27"]
["Z2641A03B01AK-7","成套插座 单相带接地 明插座电流(A) ≤15",null,"套",null,"9.180","6.96",null,"63.89"]
["Z2803A15B01BY-16~1","BV-2.5",null,"m",null,"2430.989","1.95",null,"4740.43"]
["Z2906A17B01BY-2~1","PC20",null,"m",null,"740.474","1.37",null,"1014.45"]
["Z2911A03B01BF-3~1","开关（插座）盒    塑料",null,"个",null,"33.660","0.90",null,"30.29"]
["Z2911A03B01BF-3~2","接线盒    塑料",null,"个",null,"125.460","0.90",null,"112.91"]
["Z5509A07B01AN~1","配电箱-KFDX",null,"台",null,"1.000","980.00",null,"980.00"]
[]
["合计",{"$nulls":7},"19744.11"]
[]
[]
[]
[]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]